Atmospheric Pressure Photoionization mass spectrometry as the valuable method for identification of polyisoprenoid alcohols

Magdalena Kania,* Karolina Skorupinska - Tudek, 2 Ewa  Swiezewska 2 and Witold  Danikiewicz 1

- Institute of Organic Chemistry, Polish Academy of Sciences, Kasprzaka 44/52, 01- 224 Warsaw, Poland

- Institute of Biochemistry and Biophysics, Polish Academy of Sciences, Pawinskiego 5a, 02-106 Warsaw, Poland

Abstract

Rationale: The aim of this study was to prove that Atmospheric Pressure Photoionization (APPI) is better suited for the MS analysis of polyisoprenoid alcohols comparing to the commonly used Electrospray Ionization (ESI). The APPI method should make possible the use of non-polar solvents without any additives required by ESI. An improvement of the detection limit has been expected also.

Methods: The APPI- MS and ESI-MS spectra of polyisoprenoid alcohol standards were acquired in the positive and in the negative ion modes, in methanol and hexane, using a tandem mass spectrometer 4000 Q TRAP (Applied Biosystems Inc, USA) equipped with an electrospray and an Atmospheric Pressure Photoionization ion sources and the triple quadrupole/linear ion trap mass analyzer. The mixtures of polyisoprenoid alcohols were analyzed by reversed phase liquid chromatography coupled with the mass spectrometer.

Results: In the positive ion mode peaks corresponding to [M + H  H2O]+ and [M + H]+ ions were observed in the APPI-MS spectra of polyprenols and dolichols, respectively. In the negative ion mode peaks corresponding to [M + O2]   and [M + Cl]  ions were observed for both classes of polyisoprenoid alcohols. The detection limit of polyisoprenoid alcohols was established at the level of 10 pg.

Conclusions: Atmospheric Pressure Photoionization (APPI) turned out to be a method of choice for identification and quantitation of polyisoprenoid alcohols by mass spectrometry using both polar and non-polar solvents. APPI, comparing to ESI, enables also greater differentiation of polyprenols and dolichols concomitantly occurring in the natural samples.

Introduction

Atmospheric Pressure Photoionization (APPI) represents one of the soft ionization techniques in mass spectrometry. Its main advantage is the possibility to analyze molecules which are poorly ionized in Electrospray Ionization (ESI) and Atmospheric Pressure Chemical Ionization (APCI) methods.  APPI is dedicated for less polar and non-polar compounds and gives an opportunity to analyze compounds in the positive and the negative ion modes. This ionization method can be applied in a broad analytical area, for example to the analysis of drugs and their metabolites, pesticides, lipids, flavonoids and steroids.

The aim of this work was to examine the application of APPI to identify and quantify polyisoprenoid alcohols. These are linear five-carbon unit polymers which occur in all living cells. Polyisoprenoid alcohol chains are built of 5-100 and more isoprenoid units and two groups of these compounds are found in nature which differ by the structure of the terminal isoprene unit: dolichols and polyprenols (Fig.1). Dolichols, mainly found in animal tissues, yeast cells and some plant organs like roots, are α–saturated isoprenoid alcohols while polyprenols occurring in plant photosynthetic tissues, wood, seeds, flowers and in bacterial cells are the α–unsaturated counterparts.  It is also worth noting that in the cells mixtures of dolichols are often accompanied by mixtures of polyprenols of the same chain-length which increases the complexity of the analysis.

Fig. 1. Structures of polyprenols and dolichols

The biological role of polyisoprenoid alcohols is still examined. Polyprenols and dolichols have been postulated to modulate the physical properties of model membranes, take part in the transport of endoplasmic reticulum (ER) and vacuolar proteins while their phosphates serve as cofactors of protein glycosylation and biosynthesis of glycosyl phosphatidylinositol anchor in animal and probably also in plant cells. Dolichols are postulated to protect the cellular membranes against peroxidation.

Electrospray ionization has been used earlier to identify polyisoprenoid alcohols in natural samples by mass spectrometry coupled with liquid chromatography (HPLC-MS).  It requires, however, the addition of the salt solution to enhance the efficiency of the ESI ionization of the analyte. Sodium or lithium salts can be added by means of the post-column injection and/or directly to the sample solution in the positive ion mode of MS analysis. In the negative ion mode Guan and Eichler showed that the presence of ammonium acetate in the mobile phases caused the formation of adducts of polyprenoid alcohols with the acetate anion .  Our current study shows successful application of APPI to analyze dolichols and polyprenols in the standard solutions using direct mass spectrometry analysis as well as HPLC-MS analysis. What is more no dopant was required in these experiments. Additionally, APPI ionization methods permits more accurate identification of polyprenols and dolichols concomitantly occurring in cells since different ions: [M + H  H2O]+ and [M+H]+ are observed for polyprenols and dolichols, respectively, in the positive ion mode. The effects of polar and non-polar solvents on the analyte ionization have been studied and the ion source parameters were optimized. Finally, HPLC-APPI-MS analysis for the standard samples has been carried out and compared with HPLC-ESI-MS.

Materials and methods

Chemicals

Samples of single dolichols (Dol-11, Dol-13, Dol-18), single polyprenols (Pren-11, Pren-12, Pren-20), mixture of dolichols (from Dol-17 to Dol-21) and mixture of polyprenols (Pren-9, Pren-11-23, Pren-25) were obtained from the Collection of Polyprenols (IBB PAN, Warsaw, Poland). All solvents (HPLC grade) were from Merck (Darmstadt, Germany), water was purified in Labconco purification system (Kansas City, MO, USA).

MS analysis

APPI-MS and ESI-MS experiments were performed using tandem mass spectrometer 4000 QTrap with PhotoSpray® and TurboIonSpray® sources, respectively, (Applied Biosystems Inc, Foster City,  CA, USA). The krypton lamp (10 eV) was employed in APPI source. Nitrogen (Nitrogen Generator, Peak Scientific, Frankfurt, Germany) was used as the nebulizing (GS1), the curtain (CUR) and the lamp gas (GS2). Analyses of polyisoprenoid alcohols were carried out at declastering potential (DP) – 60 V and at entrance potential (EP) – 10 V in both ion sources. The data were collected in the full-scan positive and negative ion modes at a range of 400 – 1500 m/z in ESI-MS as well as APPI-MS measurements.

In APPI-MS analysis the following parameters depending on an investigated sample were used: the temperature of the source and Ion Transfer Voltage (IS) in the range from 250 ºC to 350 ºC and 1000 - 1400 V, respectively, the lamp gas pressure – from 5 to 10 psi. In all measurements the curtain gas was set 10 psi and the nebulizer gas – at 20 psi. Toluene was tested as a dopant and it was delivered by a syringe pump (Harvard Apparatus, Holliston, MA, USA) with a dopant flow rate at 30 µL/min.

In ESI-MS measurements the pressure of the curtain and the nebulizer gas were 20 psi and 14 psi respectively. Ion Spray Voltage (IS) was set in the range from 5100 to 5500 V, depending on an investigated sample.

HPLC-MS analysis

HPLC-APPI-MS (PhotoSpray®) MS and HPLC-ESI-MS (TurboIonSpray®) analyses were carried out using a Prominence LC-20 (Shimadzu, Kyoto, Japan) HPLC system coupled with tandem mass spectrometer 4000 Qtrap. HPLC separations were performed using the 4.6 x 250 mm Synergi Hydro-RP (4µm) (Phenomenex, Torrance, CA , USA) column. Solvent A was a mixture of  methanol/water/isopropanol (12/1/8, v/v) and solvent B – a mixture of hexane and isopropanol (7/3, v/v). The linear gradient, from 100% phase A to 70 % phase B in 50 minutes, was used. The injection volume was  5 µL/min, the flow rate - 1 mL/min and the UV detector wavelength was set at 210 nm.

The standard sample of polyprenols was dissolved in a mixture of hexane and isopropanol (1/2, v/v). In HPLC-ESI-MS and HPLC-APPI-MS analyses the concentration of analyzed samples was 1 mg/mL.

Results and discussion

może dodać jedno zdanie ogólne:

While a few mass spectrometry techniques have been applied earlier to analyze polyisoprenoids, including ESI-MS, Fast Atom Bombardment (FAB), Desorption Electron Impact Ionization, Atmospheric Pressure Chemical Ionization nie pamietam dobrej pracy z GC-MS lista dodatkowych referencji na koncu, the ESI technique seems to be best suited for analysis of free, non-phosphorylated polyprenols and dolichols.

In the first step of investigations isoprenoid alcohols were analyzed by APPI-MS and ESI-MS methods to compare these two ionization techniques. The following dolichols and polyprenols, in hexane, were examined: Dol-11, Dol-13, Pren-11, Pren-12 and a mixture of dolichols from Dol-17 to Dol-21. For APPI-MS the parameters of the ion source were optimized and for shorter chain dolichols and polyprenols the optimal temperature of APPI source and ion transfer voltage were found to be 250 ºC and 1000 V, respectively. For the mixture of longer chain dolichols (Dol-17 to  Dol-21) higher temperature of the ion source and higher value of ion transfer voltage were required: 350 ºC and 1400 V, respectively. Higher values of the source temperature and ion transfer voltage were probably required to evaporate, ionize and transfer less volatile long chain dolichols. It was also necessary to increase the pressure of the lamp gas, which protects the UV lamp against contamination, for investigated mixture (from 5 to 10 psi).

In the second set of experiments the effect of dopant on ionization of dolichols and polyprenols, dissolved in methanol and hexane as well,  has been studied. Toluene which is the most commonly used dopant has been tested. The recorded spectra showed that the dopant was not required for the analysis of polyisoprenoid alcohols. Therefore, according to the photoionization mechanism, it could be postulated that polyisoprenoids possess ionization energy (IE) below 10 eV and could be ionized directly by photons. In the next step the resulting radical cations can react with neutral solvent molecules giving protonated molecules of polyisoprenoid alcohols. A moze to tak uprościć: Therefore, it could be postulated that polyisoprenoids could be ionized directly by photons.

APPI technique makes possible the application of both polar and nonpolar solvents to analyze compounds of interest. In this investigation methanol and hexane were used as the representatives of these two classes of solvents. Identification of dolichols and polyprenols was carried out in the positive and the negative ion modes. In APPI mass spectra recorded in the positive ion mode, in both solvents protonated dolichol molecules were observed ([M + H]+ , Fig. 2a) while APPI mass spectra of polyprenols are dominated by the peaks corresponding to protonation and immediate loss of water from the protonated molecules ([M + H H2O], Fig. 2b).

[M +H]+

Fig. 2a. APPI-MS spectrum of Dol-11 recorded in hexane in the positive ion mode, at the following source parameters: IS - 1000 V, DP - 60 V and 250 ºC; pressure of the gases: GS1 – 20 psi, GS2 – 5 psi, CUR – 20 psi; the sample flow rate – 200 µL/min.

[M +H – H2O]+

Fig. 2b. APPI-MS spectrum of Pren-12 recorded in methanol, in the positive ion mode, at the following source parameters: IS - 1000 V, DP - 60 V and 250 ºC; pressure of the gases: GS1 – 20 psi, GS2 – 5 psi, CUR – 20 psi; the sample flow rate – 200 µL/min.

These results can be rationalized by the differences in the structures of dolichols and polyprenols. The allylic character of polyprenol alcohol facilitates water elimination from the preliminary formed protonated molecule yielding resonance-stabilized allylic cation:

This is not the case for dolichols which do not contain double bond in the α–residue.

In the negative ion mode [M + O2]   and [M + Cl]  ions are observed in the mass spectra of both analyzed compounds, acquired either in methanol or hexane (Fig. 3a and 3b).  In the MS spectrum of Dol-11 recorded in hexane the peak at m/z 800.7 and 803.7 corresponds to [M + O2]  and [M + Cl], respectively (Fig. 3a).

[M +O2].-

[M +Cl]-

Fig. 3a. APPI-MS spectrum of Dol-11 recorded in hexane, in the negative ion mode, at the following source parameters: IS – (-1000) V, DP – (-60) V and 250 ºC; pressure of the gases: GS1 – 20 psi, GS2 – 5 psi, CUR – 20 psi; the sample flow rate – 200 µL/min.

[M +O2].-

[M +Cl]-

Fig. 3b. APPI-MS spectrum of Pren-12 recorded in methanol, in the negative ion mode, at the following source parameters: IS – (-1000) V, DP – (-60) V and 250 ºC; pressure of the gases: GS1 – 20 psi, GS2 – 5 psi, CUR – 20 psi; the sample flow rate – 200 µL/min.

In the next part of our study an effect of the solvent on ionization efficiency has been tested. It was observed that the intensity of the signal recorded in methanol was significantly lower (e. g. 5-fold for Pren-11) than that in hexane. This result is consistent with Ghislain et al. studies where a self – doping effect of hexane has been postulated.  It can be also explained by formation of methanol clusters which have lower ionization energy than the photons emitted by the UV lamp. It was estimated earlier that at the flow rate of 50 µL/min the vapor contained 99.98% of the methanol monomer (IE = 10.84 eV) and 0.02% of the methanol dimer (IE = 9.47 eV).  Therefore charged dimer molecules can compete with dolichols and polyprenols in the ionization process. Moreover, the solubility of these highly nonpolar polyisoprenoid alcohols in hexane is higher than in methanol.

Analysis of the dolichol mixture by APPI-MS and ESI-MS methods (figures not presented) showed the advantages of an application of the APPI source. In both ionization techniques peaks corresponding to particular dolichols were observed. However, in APPI-MS spectrum, recorded in hexane, significantly (5-fold)  higher intensities of the peaks recorded at 10-fold lower volume injection have been obtained.

This result prompted us to establish the smallest detectable amount of dolichols and polyprenols using Selected Ion Monitoring (SIM) method. Short (Dol-13, Pren-12) and long (Dol-18, Pren-20) chain polyisoprenoid alcohols have been studied. The ions at m/z 817.7, 905.8, 1246.8 and 1362.2 corresponding to Pren-12, Dol-13, Dol-18 and Dol-20, respectively, were chosen for the experiments. The solutions, prepared in hexane, in the concentration range from 1 pg/µl to 1 ng/µl were injected. Calibration curves obtained for a polyprenol and a dolichol are presented in Fig. 4 and 5. In the ESI-MS analysis the linear detector response was obtained in the range from 40 pg to 10 ng.  In the case of photoionization technique the amount of 10 pg of each of the analyzed compounds was required for detection of both polyisoprenoid alcohols by APPI technique. It is very likely that careful optimization of the ion source parameters can lower the detection limit even further.

Fig. 4. Calibration curve of Pren-12 (APPI in the positive ion mode, hexane used as a solvent).

Fig. 5. Calibration curve of Dol-20 (APPI in the positive ion mode, hexane used as a solvent).

Dolichols and polyprenols are usually identified as the mixtures of prenologues in cells. Hence, APPI technique coupled with HPLC-MS method was employed for separation and identification of the polyisoprenoid alcohols mixtures. The polyprenols mixture of Pren-9, Pren-11 to Pren-23 and Pren-25 was analyzed under the same reversed phase chromatographic conditions as for HPLC-ESI-MS. Identification of dolichols and polyprenols by HPLC-APPI-MS method was performed in the positive and negative ion mode (Fig. 6).

Typical APPI-MS and ESI-MS chromatograms of polyprenols mixtures are shown in Figure 6 (a, b) and 7.

Pren-11

Pren-19

a

Pren-12

Pren-25

Pren-18

Pren-9

Pren-19

b

Pren-18

Pren-23

Pren-11

Fig. 6. APPI-MS chromatogram of a mixture of  polyprenol standards solution (Pren-9, Pren-11-23, Pren-25; 1 mg/mL)  obtainedby HPLC-APPI-MS method, in the positive (a) and the negative (b) ion mode. The separation was performed on Hydro RP using the 4.6 x 250 mm Synergi Hydro-RP (4µm) (Phenomenex, Torrance, CA , USA) column. Solvent A was a mixture of  methanol/water/isopropanol (12/1/8, v/v) and solvent B – a mixture of hexane and isopropanol (7/3, v/v). The linear gradient, from 100% phase A to 70 % phase B in 50 minutes, was used; the injection volume was 5 µL, the flow rate - 1 mL/min.

Pren-10

Pren-11

Pren-11

Fig. 7. ESI-MS chromatogram of a mixture of polyprenol standards solution obtained by HPLC-ESI-MS method, in the positive ion mode. The separation was performed on Hydro RP using the 4.6 x 250 mm Synergi Hydro-RP (4µm) (Phenomenex, Torrance, CA , USA) column. Solvent A was a mixture of  methanol/water/isopropanol (12/1/8, v/v) and solvent B – a mixture of hexane and isopropanol (7/3, v/v). The linear gradient, from 100% phase A to 70 % phase B in 50 minutes, was used; the injection volume was 10 µL, the flow rate - 1 mL/min.

In HPLC-ESI-MS, appearance of the analyzed compounds in MS chromatogram is connected with the decrease of the total ion current (“negative” peaks). Since polyisoprenoids form sodiated ions in ESI ionization technique, depleting of sodium ions by analyzed compounds in ESI source can explain this phenomenon.  Such effect might result in underestimation of the longer chain components of the mixture, cause incomplete identification of polyisoprenoids in the analyzed samples and incorrect qualitative and quantitative results of the analysis. The peaks corresponding to Pren-23 and Pren-25 are not visible in the ESI MS chromatogram (Fig. 7). The previous studies showed that post-column supplementation with salt (e.g. ammonium acetate) solution helps to enhance the intensity of isoprenoid peaks however this approach is not convenient technically and causes some broadening of the chromatographic peaks.

In contrast to ESI-MS chromatogram, APPI-MS chromatogram of the analyzed mixture of polyprenol standards showed the well-shaped peaks of 15 polyprenols (Fig. 6a). In the APPI-MS spectra the intensity of peaks corresponding to the particular polyprenols is comparable with the intensity of the same peaks in ESI-MS spectra despite using two times smaller amount of the sample (approximate 5 µg) in HPLC-APPI-MS analysis. It is highly probable that signal intensity obtained by HPLC-APPI-MS method can be further improved by modification of the mobile phase composition. According to the results of direct APPI-MS analysis the presence of methanol and water in solvent A can decrease the signal intensity (water tend to form clusters with methanol ).

Conclusions

Atmospheric Pressure Photoionization (APPI) seems to be a method of choice for successful identification and quantitation of polyisoprenoid alcohols. This ionization technique permits an effective ionization of analyzed polyisoprenoid alcohols in polar (i.e. methanol) and nonpolar (i.e. hexane) solvents. The MS spectra of dolichols and polyprenols can be obtained in the positive and the negative ion mode. The APPI gives an opportunity to analyze mixtures of dolichols and polyprenols in a broad range of chromatographic systems. In contrast to the ESI ionization method, APPI makes possible the use of the normal phase chromatography to separate polyisoprenoid alcohols in natural samples. Moreover, taking the advantage from the different ions observed for polyprenols and dolichol in the positive ion mode ([M  H2O]+ and [M + H]+, respectively), APPI ionization method facilitates simultaneous identification of polyprenols and dolichols concomitantly occurring in the natural polyisoprenoid mixtures. This point seems of special importance for the further quantitative analysis of the MS spectra analogous to that applied earlier for the elucidation of the polyisoprenoid biosynthetic pathway.

Acknowledgments

This investigation was supported by a grant from the Polish Ministry of Science and Education MNiSW NN303 311837 and a grant funded by the Polish National Cohesion Strategy Innovative Economy UDA-POIG 01.03.01-14-036/09.

References:

[1]	I. Marchi, S. Rudaz, J.-L. Veuthey. Atmospheric pressure photoionization for coupling liquid-chromatography to mass spectrometry: A review. Talanta, 2009, 78, 1.

[2]	T. Kauppila, A. Bruins, R. Kostiainen. Effect of the Solvent Flow Rate on the Ionization Efficiency in Atmospheric Pressure Photoionization-Mass Spectrometry. Journal of The American Society for Mass Spectrometry, 2005, 16, 1399.

[3]	S. J. Bos, S. M. v. Leeuwen, U. Karst. From fundamentals to applications: recent developments in atmospheric pressure photoionization mass spectrometry. Anal. Bioanal. Chem. , 2006, 384, 85.

[4]	E. Swiezewska, W. Danikiewicz. Polyisoprenoids: Structure, biosynthesis and function. Progress in Lipid Research, 2005, 44, 235.

[5]	E. Ciepichal, J. Wojcik, T. Bienkowski, M. Kania, M. Swist, W. Danikiewicz, A. Marczewski, J. Hertel, Z. Matysiak, E. Swiezewska, T. Chojnacki. Alloprenols: novel α-trans-polyprenols of Allophylus caudatus. Chemistry and Physics of Lipids, 2007, 147, 103.

[6]	A. Bajda, D. Konopka-Postupolska, M. Krzymowska, J. Hennig, K. Skorupinska-Tudek, L. Surmacz, J. Wójcik, Z. Matysiak, T. Chojnacki, E. Skorzynska-Polit, M. Drazkiewicz, P. Patrzylas, M. Tomaszewska, M. Kania, M. Swist, W. Danikiewicz, W. Piotrowska, E. Swiezewska. Role of polyisoprenoids in tobacco resistance against biotic stresses. Physiologia Plantarum, 2009, 135, 351.

[7]	M. Wojtas, T. Bieñkowski, S. Tateyama, H. Sagami, T. Chojnacki, W. Danikiewicz, E. Swiezewska. Polyisoprenoid alcohols from the mushroom Lentinus edodes. Chemistry and Physics of Lipids, 2004, 130, 109.

[8]	F. L. D’Alexandri, F. C. Gozzo, M. N. Eberlin, A. M. Katzin. Electrospray ionization mass spectrometry analysis of polyisoprenoid alcohols via Li+ cationization. Analytical Biochemistry, 2006, 355, 189.

[9]	K. Skorupińska-Tudek, T. Bieńkowski, O. Olszowska, M. Furmanowa, T. Chojnacki, W. Danikiewicz, E. Swiezewska. Divergent pattern of polyisoprenoid alcohols in the tissues of &lt;i&gt;Coluria geoides&lt;/i&gt;: A new electrospray lonization MS approach. Lipids, 2003, 38, 981.

[10]	Z. Guan, J. Eichler. Liquid chromatography/tandem mass spectrometry of dolichols and polyprenols, lipid sugar carriers across evolution. Biochimica et Biophysica Acta (BBA) - Molecular and Cell Biology of Lipids, 2011, 1811, 800.

[11]	A. Raffaelli, A. Saba. Atmospheric pressure photoionization mass spectrometry. Mass Spectrometry Reviews, 2003, 22, 318.

[12]	T. Ghislain, P. Faure, R. Michels. Detection and Monitoring of PAH and Oxy-PAHs by High Resolution Mass Spectrometry: Comparison of ESI, APCI and APPI Source Detection. Journal of The American Society for Mass Spectrometry, 2012, 23, 530.

[13]	K. Skorupinska-Tudek, J. Poznanski, J. Wojcik, T. Bienkowski, I. Szostkiewicz, M. Zelman-Femiak, A. Bajda, T. Chojnacki, O. Olszowska, J. Grunler, O. Meyer, M. Rohmer, W. Danikiewicz, E. Swiezewska. Contribution of the Mevalonate and Methylerythritol Phosphate Pathways to the Biosynthesis of Dolichols in Plants. Journal of Biological Chemistry, 2008, 283, 21024.

lista dodatkowych referencji –techniki ms

Wolucka BA, de Hoffmann E. Mass spectrometric analysis of prenyl phosphates and their glycosylated forms. Acta Biochim Pol. 1994;41:345-9.

Fedorow H, Pickford R, Kettle E, Cartwright M, Halliday GM, Gerlach M, Riederer P, Garner B, Double KL. Investigation of the lipid component of neuromelanin. J Neural Transm. 2006;113:735-9.

Wolucka BA, McNeil MR, de Hoffmann E, Chojnacki T, Brennan PJ. Recognition of the lipid intermediate for arabinogalactan/arabinomannan biosynthesis and its relation to the mode of action of ethambutol on mycobacteria. J Biol Chem. 1994; 269:23328-35.

Garrett TA, Guan Z, Raetz CR. Analysis of ubiquinones, dolichols, and dolichol diphosphate-oligosaccharides by liquid chromatography-electrospray ionization-mass spectrometry. Methods Enzymol. 2007;432:117-43.

D'Alexandri FL, Gozzo FC, Eberlin MN, Katzin AM. Electrospray ionization mass spectrometry analysis of polyisoprenoid alcohols via Li+ cationization. Anal Biochem. 2006;355:189-200.

Guan Z, Eichler J. Liquid chromatography/tandem mass spectrometry of dolichols and polyprenols, lipid sugar carriers across evolution. Biochim Biophys Acta. 2011; 1811: 800-6.

Hermansson K, Jansson P-E, Low P, Dallner G, Swiezewska E and Chojnacki T (1992) Analysis of long-chain polyisoprenoids by fast atom bombardment mass spectrometry. Biol.Mass Spectr.  21: 548-553.

* Corresponding author: Magdalena Kania, Mass Spectrometry Group, Institute of Organic Chemistry, Polish Academy of Sciences, Kasprzaka 44/52, 01- 224 Warsaw, Poland; e-mail: magdalena.kania@icho.edu.pl