The final publication is available at Springer via http://link.springer.com/article/10.1007/s00216-015-8949-y

A Biosensor Based on Electroactive Dipyrromethene-Cu(II) Layer Deposited onto gold Electrodes for the Detection of Antibodies Against Avian Influenza Virus Type H5N1 in Hens Sera

Urszula Jarocka1, Róża Sawicka2, Anna Stachyra2, Anna Góra-Sochacka2, Agnieszka Sirko2, Włodzimierz Zagórski-Ostoja2, Violetta Sączyńska3, Anna Porębska3, Wim Dehaen4, Jerzy Radecki1, Hanna Radecka*1

1 Institute of Animal Reproduction and Food Research, Polish Academy of Sciences, Tuwima 10, 10-748 Olsztyn, Poland

2 Institute of Biochemistry and Biophysics, Polish Academy of Sciences, Pawińskiego 5A, 02-106 Warsaw, Poland

3 Institute of Biotechnology and Antibiotics, Starościńska 5, 02-516 Warsaw, Poland

4 University of Leuven, Department of Chemistry, Celestijnenlaan 200F, B-3001 Leuven, Belgium

* Corresponding author: Phone: +48 89 523 4636; Fax: +48 89 524 0124; E-mail address: h.radecka@pan.olsztyn.pl

Abstract This paper describes the development of a biosensor for the detection of anti-hemagglutinin antibodies against the influenza virus hemagglutinin. The steps of biosensor  fabrications are as follows: (i) creation of a mixed layer containing the thiol derivative of dipyrromethene and 4-mercapto-1-butanol, (ii) complexation of Cu(II) ions, (iii) oriented immobilization of the recombinant histidine-tagged hemagglutinin, (iv) filling free spaces with bovine serum albumin. The interactions between recombinants hemagglutinin from the highly pathogenic avian influenza virus type H5N1 and anti-hemagglutinin H5 monoclonal antibodies were explored with Osteryoung square-wave voltammetry. The biosensor displayed good detection limit of 2.4 pg/mL, quantification limit of 7.2 pg/mL and dynamic range from 4.0 pg/mL to 100.0 pg/mL in buffer. In addition, this analytical device was applied for detection of antibodies in hens sera from individuals vaccinated and non-vaccinated against the avian influenza virus type H5N1. The limit of detection for the assay was the dilution of sera 1 : 7 × 106, which is about 200 times better than the enzyme-linked immunosorbent assay.

Keywords Dipyrromethene-Cu(II) layer, Histidine-tagged antigen immobilization, Detection of antibodies in sera, Avian influenza virus.

Introduction

The highly pathogenic avian influenza (HPAI) virus can be easily transmitted among poultry which often leads to severe disease outbreaks or even pandemics. All this causes enormous economic losses in the poultry industry and seriously threatens human health [1,2,3]. Therefore, methods suitable for early and fast detection of the highly pathogenic forms are still desired.

Among a variety of available analytical techniques, which are currently applied to detection of AI, the biosensors are promising tools. These are generally defined as analytical devices consisting of biological components (e.g. tissues, microorganisms, proteins, enzymem, antibodies, nucleic acids, etc.) coupled to transducers, generating analytical responses related with the analyte concentrations in samples [4,5]. Biochemical sensors have attracted considerable attention due to selectivity, sensitivity and possibility of miniaturization. They have found numerous applications for control of food quality, environmental pollution and medical diagnostics, just to name  a few  examples [6-8].

In recent years there has been a growing interest in the development of electrochemical biosensors based on redox active layers immobilized on the electrode surface [9]. Such layers could serve as transducers, as well as sites for stable and oriented immobilization  of  biological molecules. The redox centers, located inside the active sensing layers, are responsible for transduction of signals coming from the recognition process to analytically readable signals. The main advantage of the biosensors based on the redox active layers is that, there is no need for a redox marker in the sample solution [10].

The properties of the redox active layers are mostly depend on: the distance from the redox center to the electrode surface, the structure of the bridge connecting the redox active center and the electrode surface, as well as the molecular environment around the redox center [11].

Controlling the molecular structure, organization and orientation of proteins on solid surfaces without distressing their function is a key in the development of  biosensors. Initially developed for the biochemical purification of genetically engineered proteins, the formation of ternary metal–chelate complexes between nitrilotriacetic acid (NTA) or imminodiacetic acid (IDA) and histidine-tagged (His-tagged) recombinant proteins has been shown to be a promising strategy for controlling protein orientation at interfaces, requiring only mild protein modification. Furthermore, this specific immobilization is reversible, which allows the release and recovery of the immobilized protein under mild conditions [12]. Such strategy was successfully applied to the construction of sensors [13-17].

Dipyrromethene derivatives (DPM), which have high affinity toward transition metal ions, are suitable for the formation of the layer with the redox centers by performing the successive complexation reactions on the electrode surface [18]. This system based on a redox active DPM–Cu(II) complex for oriented immobilization of His-tagged proteins was originally introduced and described in our previous work [16-17]. The binding affinity of His-tagged protein to the dipyrromethene-Cu(II) complex has been confirmed using surface plasmon resonance (SPR) [19]. The DPM-Cu(II) layer incorporated with His6-protein was stable during several  hours. Also, we did not  observed  any changes of electrochemical parameters recorded in the buffer solution before starting of analyte measurements.

Here, we present the biosensor based on ternary metal–chelate complex between DPM and the recombinant His-tagged hemagglutinin (His6-H5 HA). The sensor allowed for precise detection of antibodies against hemagglutinin (HA) from the HPAI virus H5N1. A specific interaction between the His6-H5 HA and the appropriate monoclonal antibody was observed using Osteryoung square-wave voltammetry (OSWV). The biosensor proposed detected specific anti-H5 HA antibodies in buffer solution, as well as in hen sera samples.

Experimental

Chemicals and materials

DPM was synthesized by ProChimia Surfaces Company (Sopot, Poland). 4-mercapto-1-butanol (MBT), phosphate buffer saline (PBS) components (137 mM NaCl, 2.7 mM KCl, 1.8 mM Na2HPO4, 10 mM KH2PO4), copper (II) acetate and chloroform were obtained from Sigma–Aldrich (Poznań, Poland). Alumina 0.3 and 0.05 μm were purchased from Buehler (Lake Bluff, IL, USA). Sulphuric acid, potassium hydroxide and methanol were supplied by POCh (Gliwice, Poland). Bovine serum albumin (BSA) was purchased from Invitrogen Life Technologies (Darmstadt, Germany). Anti-hemagglutinin H5 monoclonal antibodies (Mab 6-9-1) was obtained from the Institute of Biotechnology and Antibiotics (Warsaw, Poland), and monoclonal anti-IL-2 antibodies from AbD Serotec (Oxford, UK). Two different hens sera from vaccinated (serum 1 from a high responder and serum 2 from a low responder) and from non-vaccinated (serum 3) were collected and characterized in the Institute of Biochemistry and Biophysics (Warsaw, Poland). The negative control (serum 4), provided by the National Veterinary Research Institute (Puławy, Poland) was obtained from chickens hatched from the specific pathogen free (SPF) embryonated eggs (VALO-Biomedia, Osterholz-Scharmbeck, Germany). The recombinant HA antigen used in this study was based on the sequence of H5N1 (A/swan/Poland/305-135V08/2006; EpiFlu Database Acc No EPI156789) and produced in a baculovirus system (Oxford Expression Technologies, Oxford, UK). It covers a region of 17-530 residues with deletion of 6 residues in the proteolytic cleavage site (RRRKKR; 341-346) and contains a His-tag at the C-terminus.

All aqueous solutions were prepared using Milli-Q water, with resistivity 18.2 MΩ·cm (Millipore, Darmstadt, Germany). Reagents and solvents were of analytical grade and used without further purification. Experiments were carried out at room temperature unless stated otherwise.

Preparation of the biosensor

Gold disc electrodes (2 mm diameter) were obtained from Bioanalytical System (BAS, West Lafayette, IN, USA). These electrodes, after washing with methanol (Caution: Methanol is highly flammable and toxic) and Milli-Q water, were polished in alumina slurries (Alpha and Gamma Micropolish, Buehler, Lake Bluff, IL, USA) with particles size of 0.3 and 0.05 μm on microcloth polishing pads for 5 minutes each. Afterwards they were carefully washed with Milli-Q water. Then, electrochemical cleaning was performed by Cyclic voltammetry (CV). The gold electrodes were cleaned electrochemically with using the silver chloride reference electrode (Ag/AgCl) and the platinum wire counter electrode in 0.5 M potassium hydroxide solution and next in 0.5 M sulphuric acid solution. In the first step, in 0.5 M potassium hydroxide solution the potential was swept with a scan rate of 0.1 V/s between -0.4 V and -1.2 V. The gold electrodes were first submitted to 3 cycles, then to 50 additional cycles, and finally to 10 more cycles. All of them have been performed under the same condition. Next, the electrodes were cleaned in 0.5 M sulphuric acid solution. The potential was swept with a scan rate of 0.1 V/s between -0.3 V and +1.5 V. Initially, they have been submitted to cycles 3, then to 10 cycles, and finally to 3 more cycles performing under the same conditions. After finishing the electrochemical cleaning, each electrode was rinsed with Mili-Q water and stored in water (for several minutes, until the next step) to avoid contamination from air. All solutions were deoxygenated by purging with nitrogen (ultra pure 6.0, Air Products, Warsaw, Poland) for 10 minutes.

Directly after cleaning, the electrodes were washed repeatedly with Milli-Q water and methanol. Subsequently they were soaked in a mixed solution of 0.01 mM DPM and 1 mM MBT in chloroform (Caution: Chloroform is toxic and a suspected carcinogen) for 3 hours. Next, after washing with chloroform and chloroform : methanol solution (1:1), the electrodes were dipped in 1 mM Cu(II) acetate solution in chloroform : methanol (1:1) for 1 hour. The tubes containing electrodes were sealed with teflon tape to avoid solvent evaporation. Then, after washing with chloroform : methanol (1:1) solution, methanol, water and PBS buffer, the electrodes were fixed upside down and a 10 µL of 1 μg/mL His6-HA H5 (in 0.1 M PBS, pH 7.4) were placed on the gold surfaces for 1 hour. BSA solution in a concentration of 1 % (m/v) was used for blocking any unspecific binding. As in earlier steps, 10 μL droplets were applied on the surface of each electrode and left for 30 minutes. Finally, the electrodes were rinsed with 0.1 M PBS. Fully modified electrodes were stored in a refrigerator (+4 C) in 0.1 M PBS, pH 7.4 until used, but not longer than one day.

A specific interaction between the His6-H5 HA and antibodies

Mab 6-9-1 and anti-IL-2 antibodies were diluted in the buffer (0.1 M PBS, pH 7.4) to the concentration of 0, 4, 25, 50, 75, 100 pg/mL. The samples of the hens sera from: the vaccinated (serum 1 from a high responder and serum 2 from a low responder), non-vaccinated (serum 3) and chickens serum hatched from the specific pathogen free (serum 4) were prepared in the PBS buffer (10-fold serial dilutions in the range from 1:7×102 to 1:7×108). The reactions between the His6-H5 HA and antibodies were performed by dropping of the 10-µL aliquots of the respective dilutions of the analytes on the Au–MBT/DPM–Cu(II)–His6-H5HA–BSA modified electrode surfaces. The electrodes were covered by Eppendorf  tubes in order to protect  against evaporation and air pollution. After 0.5 h of  incubation  at room temperature, the electrodes were rinsed with 5 mL of 0.1 M PBS, pH 7.4 in order to remove the unbound analytes.

Osteryoung square-wave voltammetry measurements

Electrochemical measurements were performed with an Autolab potentiostat-galvanostat (Eco Chemie, Utrecht, Netherlands). A three-electrode configuration was applied: the gold electrode as a working electrode, a Ag/AgCl reference electrode and a Pt counter electrode. OSWV was performed with potential from 0.55 V to –0.25 V with a square wave frequency of 25 Hz and amplitude of 0.05 V.

Results and discussion

Fabrication of the biosensor – successive steps of gold electrode modification

The process of the biosensor formation is shown in Scheme 1. First, a mixed DPM and MBT layer in molar ratio 1 : 100 was created on the gold electrode surface. Then, Cu(II) ions were complexed by DPM. The Cu(II) ions played the roles of electroactive centers. MBT was applied as spacer molecule in order to prevent unspecific adsorption of Cu(II) ions and intramolecular interactions between the redox centers. The presence of Cu(II) ions on the gold electrode surface was verified using CV performed at different scan rates. Representative cyclovoltammograms are presented in Figure S1 (see Electronic Supplementary Material). The reduction of Cu(II) ions and oxidation of Cu(I) ions were observed at Epc = 0.290 V and Epa = 0.377 V, respectively, at the scan rate of 0.1 V/s. The peak separation ΔEp = 0.087 V indicates that the reversibility of the process is quite good. The linear relationship of the anodic and cathodic peaks current versus the scan rates from 0.01 up to 1 V/s pointed out that the redox processes were not diffusion dependent and confirmed the presence of the DPM-Cu(II) complex on the gold electrode surface.

Scheme 1 Steps of biosensor formation.

Next, the His6-H5 HA was immobilized via coordination bonds between the chelated Cu(II) ions and the nitrogen atoms of the His6-H5 HA. BSA was used to block any remaining free spaces on the gold electrode surface in order to eliminate  unspecific binding. The immobilization of the His6-H5 HA and BSA was monitored by CV (see Electronic Supplementary Material Fig. S2) and OSWV (see Electronic Supplementary Material Fig. S3). The CV curves showed a decrease of the Cu(II) redox processes reversibility. In comparison to the CV, the OSWV, which eliminates the capacitive current, was found to be a more suitable technique. The immobilization of the His6-H5 HA and BSA caused a decrease of the Cu(II) peaks current about 75.8% and 66.8%, respectively.

Detection of the Mab 6-9-1 monoclonal antibodies in buffer

Quantitative assessment of the sensitivity of the biosensor based on the redox active DPM–Cu(II) layer was done with serial dilutions of Mab 6-9-1 in PBS buffer. Typical responses of the biosensor in PBS buffer registered using OSWV are shown in Figure 1. The Cu(II) ions redox current decreasing is observed with an increasing of the antibodies concentration (Fig. 1A). The negative control (anti-IL-2 antibodies) generated a weak response, what confirmed the selectivity of the biosensor proposed (Fig. 1B).

Fig. 1 Typical square wave voltammograms obtained for electrodes modified with Au–MBT/DPM–Cu(II)–His6-H5 HA–BSA. Dashed curves were registered after modification and the following curves after interaction with antibodies: (A) Mab 6-9-1; (B) anti-IL-2 antibodies; C) Mab 6-9-1 in the presence of a constant concentration of anti-IL-2 antibodies (50.0 pg/mL). Measurement conditions: the Mab-6-9-1 and anti-IL-2 antibodies concentrations: 0, 4, 25, 50, 75, 100 pg/mL; 0.1 M PBS pH 7.4; square wave frequency of 25 Hz and amplitude of 0.05 V.

The biosensor proposed was selective and sensitive. Figure 2 shows the relationships of (In–I0)/I0 [%] vs. concentration c [pg/mL] of: Mab 6-9-1, Mab 6-9-1 in the presence of a constant concentration of anti-IL-2 antibodies (50.0 pg/mL) and anti-IL-2 antibodies in the 0.1 M PBS buffer, pH 7.4. The error bars in the graph stand for standard deviation for 5 or 6 electrodes. The highest concentration (100.0 pg/mL) of Mab 6-9-1 caused significant decreasing of Cu(II) ions redox peak current to 51.6 ± 2.2 % (variability range on sensor-to-sensor was 6.4 %). A linear range of analytical response was observed between 4.0 pg/mL and 100.0 pg/mL. The limit of detection (LOD) and the limit of quantification (LOQ) were calculated using the equations: LOD = 3.3 σ/S and LOQ = 10 σ/S (where σ is the standard deviation of the response and S is the slope of the calibration curve) [20]. The LOD and LOQ values were 2.4 pg/mL and 7.2 pg/mL, respectively. The negative control (anti-IL-2 antibodies), with no affinity to the His6-H5 HA antigen, generated negligible response. In the presence of the highest concentration (100.0 pg/mL) of anti-IL-2 was observed only a 11.1 ± 4.2 % decrease of the Cu(II) ions redox peak current (Fig. 2).

Fig. 2 The relationship of (In–I0)/I0 [%] vs. concentration c [pg/mL] of (♦) Mab 6-9-1 (average from 6 electrodes), (▲) Mab 6-9-1 in the presence of a constant concentration of anti-IL-2 antibodies (50.0 pg/mL) (average from  5 electrodes), (■) anti-IL-2 antibodies (average from 5 electrodes) in the presence of 0.1 M PBS pH 7.4.

To check in details the potential cross reactivity with other antibodies the OSWV measurements were performed for a series of Mab 6-9-1 dilutions in PBS buffer in the presence of a constant concentration of the anti-IL-2 antibodies (Fig. 1C). The presence of 50.0 pg/mL of anti-IL-2 antibodies only slightly reduces the response of the biosensor towards Mab 6-9-1. The highest concentration of  Mab 6-9-1 in the presence of  50.0 pg/mL of anti-IL-2 antibodies generated decreasing of the peak current 44.9 ± 2.1 % (variability range on sensor-to-sensor was 5.5 %) (Fig. 2). The obtained LOD and LOQ values were 4.9 pg/mL and 14.9 pg/mL, respectively. Thus, it can be concluded that the selectivity of the biosensor proposed based on redox active DPM–Cu(II) layer is sufficient for the detection of Mab 6-9-1.

Detection of the anti-hemagglutinin antibodies in hen sera

Successful calibration against the Mab 6-9-1 suggested that the biosensor could be used for detection of humoral response in biological samples. A series of dilutions of the hens sera from: the vaccinated (serum 1 from a high responder and serum 2 from a low responder), non-vaccinated (serum 3) and chickens serum hatched from the specific pathogen free (serum 4) were prepared in PBS buffer. The sera vaccinated and non-vaccinated hens were selected from the samples of blood collected previously from two groups of chickens, immunized with a DNA vaccine based on the H5 HA from the H5N1 (A/swan/Poland/305-135V08/2006) strain of HPAI virus and the control group immunized with the empty vector, respectively [21]. The representative square wave voltammograms are presented in Figure 3. Upon increasing contents of antibodies in serum 1 a decrease of the Cu(II) ions redox peaks current was observed (Fig. 3A). A negligible  biosensor response was observed in the presence of diluted serum 4 (Fig. 3B).

Fig. 3 Typical square wave voltammograms obtained for electrodes modified with Au–MBT/DPM–Cu(II)–His6-H5 HA–BSA. Dashed curves were registered after modification and the following curves after interaction with antibodies in: (A) serum 1 from a high responder; (B) serum 4 (pathogen free). Measurement conditions: 10-fold serial dilutions in the range from 7 × 102 to 7 × 108; 0.1 M PBS pH 7.4; square wave frequency of 25 Hz and amplitude of 0.05 V.

Figure  4 shows the relationships of (In–I0)/I0 [%] vs. dilutions of different sera. The error bars in the graph stand for standard deviation for 5 or 8 electrodes. The dilution series correspond to increasing concentrations incubated one after the other on a single electrode. The dilution of  1 : 7 × 102 generated decreasing  of  the peak current  42.5 ± 2.8 % (variability range on sensor-to-sensor was 6.0 %) and 38.2 ± 1.7 % (variability range on sensor-to-sensor  was 3.9 %)  for serum 1 and serum 2, respectively. The sensor was able to detect anti-H5 HA antibodies in serum 1 diluted 1 : 7 × 106 and serum 2 diluted 1 : 7 × 104. Whereas the lowest dilutions of serum 1 and serum 2 enabling detection of these antibodies by the enzyme-linked immunosorbent assay (ELISA) were 1 : 2.5 × 104 and 1 : 3 × 103, respectively (see Electronic Supplementary Material Fig. S4). These results indicate that the sensitivity of our biosensor is nearly 200 and 20 times better than ELISA for serum 1 and serum 2, respectively. The slight decrease of peak current in the case of serum 3 (obtained from non-vaccinated hens) could be caused by the matrix (different antibodies, expected to be present in serum 3, could be generated by hens contact with an environment) of the hen sera. On the other hands, in the presence of serum 4 (totally free from any antibodies) weak responses were observed (Fig. 4).  In the presence of the 1 : 7 × 102 dilution of serum 4 was observed only a 8.7 ± 2.0 % decrease of the Cu(II) ions redox peak current.

Fig. 4 The relationship of (In–I0)/I0 [%] vs. dilutions of: (♦) serum 1 from a high responder (average from 8 electrodes); (●) serum 2 from a low responder (average from 5 electrodes); (■) serum 3 from non-vaccinated (average from  5 electrodes); (▲) serum 4 (pathogen free) ( average from 5 electrodes).

In our previous paper [22], we have described an impedimetric immunosensor for the detection of anti-H5 HA antibodies. Its preparation consisted of successive modification steps of glassy carbon electrodes: (i) creation of COOH groups, (ii) covalent immobilization of protein A with the EDC/NHS coupling reaction, (iii) covering with anti-His IgG monoclonal antibodies, (iv) immobilization of the His6-H5 HA, (v) filling any free space with BSA. The interactions between the His6-H5 HA and anti-H5 HA antibodies have been explored with electrochemical impedance spectroscopy (EIS) in the presence of [Fe(CN)6]3-/4- as an electroactive marker. The impedimetric immunosensor displayed a good LOD of 2.1 pg/mL in buffer. In addition, it was possible to detect antibodies in hen serum diluted up to 7 × 107-fold. The biosensor presented in this paper has a similar sensitivity in buffer. The main advantage  of  the  proposed device is that DPM–Cu(II) complex served as transducers, as well as sites for stable and oriented immobilization of the His6-H5 HA on the gold electrode surface. The redox centers, located inside the active sensing layers, are responsible for transduction of signals coming from the recognition  process  to  analytically  readable signals.  Lack of the need a redox marker in the sample solution could enable our biosensor application in research field in the future. The miniaturization of this device  is  under study in our laboratory.

The mechanism of the signal generation by the device proposed is similar to the working principle of biosensor based on His-tagged protein recognition elements immobilized onto the redox active layers presented in our previous papers [16,17]. The DPM-Cu(II) redox centers are submerged into the sensing layers deposited on the surface of gold electrode. They play double role: as a binding sites  for immobilization of the recombinant histidine-tagged hemagglutinin as well as  redox active sites responsible for the analytical signal generation. The binding of anti-HA antibodies caused the change of the His6-H5 HA conformation. In addition, the permeability of layer deposited on the electrode surface decreased. As a consequence, the counter ions accessibility to the Cu(II) redox centres decreased.  Therefore, the balance of the charge occurred on the redox centres upon oxidation / reduction processes become more difficult causing the hindering the electron transfer. As the results, upon binding of anti-HA antibodies, a decrease of the Cu(II) ions redox current was observed (Figs. 1 and 3). The similar phenomenon was reported by Stobiecka and Hepel [23]. They stated that the charge redistribution was responsible for signal transduction in label-free electrochemical glutathione immunodetection.

Table 1 Comparison of the immunosensor presented with those already published.

| Analyte | Measuring technique | Detection limit in buffer [pg/L] | Determination in real samples | References |
| --- | --- | --- | --- | --- |
| anti-HA | EIS | 1 | not determined | [24] |
| IgG | EIS | 570 | 0.181 mg/mL in CSF | [25] |
| anti-F. tularensis | Amperometry | 15000 | 165 ng/mL in serum | [26] |
| Mab 6-9-1 | EIS | 2.1 | 1:7x107 diluted hen serum | [22] |
| anti-tTG | QCM | not determined | 1.3 μg/mL in HS | [27] |
| anti-HIV-1 | ECL | not determined | 1:6×104 diluted HS | [28] |
| IgG | DPV | 4 | 1:2×104 diluted HS | [29] |
| IgE | OSWV | 6300 | not determined | [30] |
| anti-measles | EIS | 106 | 1:5×103 diluted HS | [31] |
| anti-L. infantum | SPR | not determined | 1:6.4×103 diluted canine serum | [32] |
| Mab 10B2 | SPR | 5·106 | not determined | [33] |
| H5 HA (Qinghai); EIS; 2.2; not determined. Mab 6-9-1 | EIS OSWV | 2.2 2.4 | not determined 1:7x106 diluted hen serum | [34] This work |

Abbreviations: IgG – human immunoglobulin G; CSF – cerebrospinal fluid; anti-F. tularensis – antibodies against Francisella tularensis; anti-tTG – anti-tissue transglutaminase antibodies; QCM – quartz crystal microbalance; anti-HIV-1 – human immunodeficiency virus type 1 antibodies; ECL – electrochemiluminescence; HS – human serum; DPV – differential pulse voltammetry; IgE – human immunoglobulin E; anti-L. infantum – anti-Leishmania infantum antibodies; SPR – surface plasmon resonance; Mab 10B2 – monoclonal antibodies against bacterium Acidovorax avenae subspecies citrulli.

In Table 1 articles reporting about immunosensors for detection of different antibodies in buffer and real samples have been collected in order to compare their sensitivity with sensitivity of  biosensor  presented. Taking into account the parameters such as the device sensitivity and selectivity, as well as suitability for analyte determination in real samples, the biosensor presented is superior to immunosensors  already reported (Table 1). It is worth to emphasize that the main advantages of the device proposed here are its simple fabrication, with the miniaturization possibility, demanding of small sample volume and the suitability for determination of the antibodies directly in hens sera.

Conclusions

An electrochemically active DPM–Cu(II) complex fulfilled dual role in biosensor development: firstly, as a molecular connector allowed for oriented immobilization of the His6-H5 HA on the gold electrode surface, secondly was a transducer of the recognition process between the His6-H5 HA and the antibodies. The device proposed showed the low LOD and LOQ equal to 2.4 pg/mL and 7.2 pg/mL in buffer, respectively. The monoclonal anti-IL-2 antibodies, used as a negative control (unspecific to the His6-H5 HA), generated weak response. The system presented detected specific antibodies in a selective way. In addition, this biosensor was able to detect a humoral response in the sera of hens immunized with DNA vaccine based on the sequence of HA from the H5N1. The limits of detection in serum 1 and serum 2 were 1 : 7 × 106 and 1 : 7 × 104, respectively. Its sensitivity is about 200 to 20 times better than ELISA. Therefore, the high sensitivity and selectivity of the system presented allowed distinguishing hens vaccinated from non-vaccinated ones against AI virus. Consequently, it could be very effective in detection of antibodies for immune surveillance and monitoring of the efficiency of poultry vaccination programs.

Acknowledgements The authors are grateful to Violetta Cecuda-Adamczewska and Grażyna Płucienniczak from Institute of Biotechnology and Antibiotics (Warsaw, Poland) for the hybridoma culture producing Mab 6-9-1. This work was supported by the National Centre for Research and Development (NCBiR) under grant No. PBS2/A7/14/2014, grant No. 679/N-BELGIA/2010/0, COST Action CM10005 “Supramolecular Chemistry in Water” and Institute of Animal Reproduction and Food Research, Polish Academy of Sciences, Olsztyn, Poland. Wim Dehaen thanks the University of Leuven, the FWO-Vlaanderen and the Ministerie voor Wetenschapsbeleid for financial support.

References

- Boon ACM, French AMF, Fleming DM, Zambon MC (2001) J Med Virol 65:163–170

- Santana WI, Williams TL, Winne EK, Pirkle JL, Barr JR (2014) Anal Chem 86:4088−4095

- Dhumpa R, Handberg KJ, Jørgensen PH, Yi S, Wolff A, Bang DD (2011) Diagn Microbiol Infect Dis 69:258–265

- Gopinath SCB, Tang T-H, Citartan M, Chen Y, Lakshmipriya T (2014) Biosens Bioelectron 57:292–302

- Pohanka M, Skládal P (2008) J Appl Biomed 6:57–64

- Jung S-H, Jang H, Lim M-Ch, Kim J-H, Shin K-S, Kim SM, Kim H-Y, Kim Y-R, Jeon T-J (2015) Anal Chem 87:2072−2078

- Chen J, Zhou S, Wen J (2014) Anal Chem 86:3108−3114

- Pienno PAE, Krull UJ (2005) Anal Bioanal Chem 381:10004−1011

- Moore KE, Flavel BS, Yu J, Abell AA, Shapte JG (2013) Electrochim. Acta, 89:206–211

- Hepel M, Zhong Ch-J (2012) Functional Nanoparticles for Bioanalysis, Nanomedicine, and Bioelectronic Devices, vol. 1, ACS Symposium series 1112,

- Eckermann AL, Feld DJ, Shaw JA, Meade TJ (2010) Coord Chem Rev 254:1769–1802

- Balland V, Hureau C, Chusano AM, Liu Y, Tron T, Limoges B (2008) Chem Eur J 14:7186–7192

- Johnson DL, Martin LL (2005) J Am Chem Soc 127:2018–2019

- Mayer D, Ataka KF, Knoll W, Naumann R, Haber-Pohlmeier S, Richter B, Heberle J (2004) J Am Chem Soc 126:16199–16206

- Ataka K, Giess F, Knoll W, Naumann R, Haber-Pohlmeier S, Richter B, Heberle J (2004) J Am Chem Soc 126:16199–16206

- Mikuła E, Wysłouch-Cieszyńska A, Zhukova L, Puchalska M, Verwilst P, Dehaen W, Radecki J, Radecka H (2014) Sensors 14:10650–10663

- Jargiło A, Grabowska I, Radecka H, Sulima M, Marszałek I, Wysłouch-Cieszyńska A, Dehaen W, Radecki J (2013) Electroanalysis 25:1185–1193

- Szymańska I, Orlewska Cz, Janssen D, Dehaen W, Radecka H (2008) Electrochim. Acta 53:7932–7940

- Kurzątkowska K, Mielecki M, Grzelak K, Verwilst P, Dehaen W, Radecki J, Radecka H (2014) Talanta 130: 336–341

- Swartz ME, Krull IS (2012) Handbook of Analytical Validation, CRC Press Taylor & Francis Group

- Stachyra A, Góra-Sochacka A, Sawicka R, Florys A.; Sączyńska V, Olszewska M, Pikuła A, Śmietanka K, Minta Z, Szewczyk B, Zagórski W, Sirko A. (2014) Trials Vaccinol 3:40-49

- Jarocka U, Sawicka R, Góra-Sochacka A, Sirko A, Zagórski-Ostoja W, Radecki J, Radecka H (2014) Biosens Bioelectron 55:301–306

- Stobiecka M, Hepel M, (2011) Biosens Bioelectron 26:3524–3530

- Arya S K, Kongsuphol P, Wong ChCh, Polla LJ, Park MK (2014) Sens Actuators B 194:127–133

- Derkus B, Emregul KC, Mazi H, Emregul E, Yumak T, Sinag A (2014) Bioprocess Biosyst Eng 37:965–976

- Dulay SB, Julich S, Tomaso H, O’Sullivan CK (2014) Anal Bioanal Chem 406:4685–4690

- Manfredia A, Mattarozzia M, Giannettoa M, Careri M (2014) Sens Actuators B 201:300–307

- Zhou J, Gan N, Li T, Hu F, Li X, Wang L, Zheng L (2014) Biosens Bioelectron 54:199–206

- Cao X, Liu S, Feng Q, Wang N (2013) Biosens Bioelectron 49:256–262

- Song W, Li H, Liu H, Wu Z, Qiang W, Xu D (2013) Electrochem Commun 31:16–19

- Mashazi P, Tetyana P, Vilakazi S, Nyokong T (2013) Biosens Bioelectron 49:32–38

- Souto DEP, Silva JV, Martins HR, Reis AB, Luz RCS, Kubota LT, Damos FS (2013) Biosens Bioelectron 46:22–29

- Puttharugsa C, Wangkam T, Houngkamhang N, Yodmongkol S, Gajanandana O, Himananto O, Sutapun B, Amarit R, Somboonkaew A, Srikhirin T (2013) Curr Appl Phys 13:1008–1013

- Jarocka U, Sawicka R, Góra-Sochacka A. Sirko A, Zagórski-Ostoja W, Radecki J, Radecka H (2014) Sensors 14:15714–15728.

Highligts

● Electroactive dipyrromethene–Cu(II) layer was suitable for stable and oriented immobilization of recombinant His-tagged hemagglutinin as a sensing element of immunosensor.

● Immunosensor was able to distinguish between sera of vaccinated and non-vaccinated hens against the avian influenza virus.

● Sensitivity of immunosensor was almost 200 times better than ELISA.